Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.00 | 0.00 | Na2O |  |
| Mg K | 0.08 | 18.87 | 0.13 | MgO |  |
| Al K | 0.00 | 0.69 | 0.01 | Al2O3 |  |
| Si K | 0.06 | 12.39 | 0.13 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.00 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.62 | 0.01 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.10 | 10.73 | 0.13 | FeO |  |
| Ni L | 0.00 | 0.32 | 0.00 | NiO |  |
| O | 0.15 | 56.37 |  |  |  |
| Totals | .41 |  |  |  |  |

Spectrum Label: Spectrum 1

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 38293

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.82 | 600365 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.00 | 0.00 | Na2O |  |
| Mg K | 0.04 | 13.92 | 0.07 | MgO |  |
| Al K | 0.00 | 0.22 | 0.00 | Al2O3 |  |
| Si K | 0.07 | 18.33 | 0.14 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.20 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.03 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.05 | 7.14 | 0.06 | FeO |  |
| Ni L | 0.01 | 1.00 | 0.01 | NiO |  |
| O | 0.12 | 59.17 |  |  |  |
| Totals | .29 |  |  |  |  |

Spectrum Label: Spectrum 2

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 36289

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.82 | 600205 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.23 | 0.00 | Na2O |  |
| Mg K | 0.07 | 15.48 | 0.11 | MgO |  |
| Al K | 0.00 | 0.33 | 0.00 | Al2O3 |  |
| Si K | 0.08 | 14.73 | 0.16 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.34 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.00 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.12 | 11.58 | 0.15 | FeO |  |
| Ni L | 0.00 | 0.00 | 0.00 | NiO |  |
| O | 0.17 | 57.31 |  |  |  |
| Totals | .44 |  |  |  |  |

Spectrum Label: Spectrum 3

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 39531

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.74 | 600088 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.24 | 0.00 | Na2O |  |
| Mg K | 0.05 | 14.58 | 0.08 | MgO |  |
| Al K | 0.00 | 0.31 | 0.00 | Al2O3 |  |
| Si K | 0.07 | 18.56 | 0.15 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.39 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.33 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.05 | 6.26 | 0.06 | FeO |  |
| Ni L | 0.00 | 0.14 | 0.00 | NiO |  |
| O | 0.13 | 59.20 |  |  |  |
| Totals | .30 |  |  |  |  |

Spectrum Label: Spectrum 4

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 36984

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.76 | 599597 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.16 | 0.00 | Na2O |  |
| Mg K | 0.06 | 13.41 | 0.10 | MgO |  |
| Al K | 0.00 | 0.21 | 0.00 | Al2O3 |  |
| Si K | 0.09 | 16.26 | 0.19 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.02 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.25 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.12 | 11.51 | 0.16 | FeO |  |
| Ni L | 0.00 | 0.02 | 0.00 | NiO |  |
| O | 0.18 | 58.14 |  |  |  |
| Totals | .46 |  |  |  |  |

Spectrum Label: Spectrum 5

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 40186

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.80 | 601449 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.50 | 0.00 | Na2O |  |
| Mg K | 0.08 | 17.39 | 0.13 | MgO |  |
| Al K | 0.00 | 0.73 | 0.01 | Al2O3 |  |
| Si K | 0.07 | 12.81 | 0.14 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.00 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.17 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.12 | 11.93 | 0.16 | FeO |  |
| Ni L | 0.00 | 0.00 | 0.00 | NiO |  |
| O | 0.16 | 56.46 |  |  |  |
| Totals | .43 |  |  |  |  |

Spectrum Label: Spectrum 6

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 39672

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.75 | 599951 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.01 | 2.57 | 0.01 | Na2O |  |
| Mg K | 0.04 | 9.62 | 0.06 | MgO |  |
| Al K | 0.01 | 3.35 | 0.03 | Al2O3 |  |
| Si K | 0.08 | 18.12 | 0.18 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.00 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.09 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.06 | 6.57 | 0.08 | FeO |  |
| Ni L | 0.00 | 0.44 | 0.01 | NiO |  |
| O | 0.16 | 59.25 |  |  |  |
| Totals | .37 |  |  |  |  |

Spectrum Label: Spectrum 8

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 38095

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.81 | 599726 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.00 | 0.00 | Na2O |  |
| Mg K | 0.06 | 14.25 | 0.09 | MgO |  |
| Al K | 0.00 | 0.58 | 0.00 | Al2O3 |  |
| Si K | 0.08 | 16.70 | 0.16 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.00 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.10 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.09 | 9.87 | 0.12 | FeO |  |
| Ni L | 0.00 | 0.00 | 0.00 | NiO |  |
| O | 0.15 | 58.50 |  |  |  |
| Totals | .38 |  |  |  |  |

Spectrum Label: Spectrum 9

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 40179

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.81 | 601761 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.18 | 0.00 | Na2O |  |
| Mg K | 0.06 | 14.12 | 0.10 | MgO |  |
| Al K | 0.00 | 0.81 | 0.01 | Al2O3 |  |
| Si K | 0.08 | 15.96 | 0.18 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.56 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.42 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.10 | 9.88 | 0.13 | FeO |  |
| Ni L | 0.00 | 0.08 | 0.00 | NiO |  |
| O | 0.17 | 58.00 |  |  |  |
| Totals | .43 |  |  |  |  |

Spectrum Label: Spectrum 10

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 40359

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.80 | 600699 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.52 | 0.00 | Na2O |  |
| Mg K | 0.06 | 14.88 | 0.09 | MgO |  |
| Al K | 0.00 | 0.71 | 0.01 | Al2O3 |  |
| Si K | 0.08 | 17.80 | 0.17 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.14 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.51 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.06 | 6.48 | 0.07 | FeO |  |
| Ni L | 0.00 | 0.05 | 0.00 | NiO |  |
| O | 0.15 | 58.91 |  |  |  |
| Totals | .35 |  |  |  |  |

Spectrum Label: Spectrum 11

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 40140

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.82 | 600370 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.52 | 0.00 | Na2O |  |
| Mg K | 0.06 | 13.95 | 0.10 | MgO |  |
| Al K | 0.00 | 0.71 | 0.01 | Al2O3 |  |
| Si K | 0.07 | 13.93 | 0.14 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.15 | 0.00 | K2O |  |
| Ca K | 0.01 | 0.83 | 0.01 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.12 | 12.68 | 0.16 | FeO |  |
| Ni L | 0.00 | 0.24 | 0.00 | NiO |  |
| O | 0.16 | 56.97 |  |  |  |
| Totals | .42 |  |  |  |  |

Spectrum Label: Spectrum 12

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 40984

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.81 | 599620 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.00 | 0.00 | Na2O |  |
| Mg K | 0.07 | 15.12 | 0.11 | MgO |  |
| Al K | 0.00 | 0.45 | 0.00 | Al2O3 |  |
| Si K | 0.08 | 15.33 | 0.17 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.18 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.22 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.11 | 10.71 | 0.14 | FeO |  |
| Ni L | 0.00 | 0.26 | 0.00 | NiO |  |
| O | 0.17 | 57.73 |  |  |  |
| Totals | .43 |  |  |  |  |

Spectrum Label: Spectrum 13

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 39237

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.76 | 602057 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.12 | 0.00 | Na2O |  |
| Mg K | 0.01 | 2.90 | 0.02 | MgO |  |
| Al K | 0.00 | 0.41 | 0.00 | Al2O3 |  |
| Si K | 0.01 | 1.93 | 0.02 | SiO2 |  |
| S K | 0.06 | 10.18 | 0.16 | SO3 |  |
| K K | 0.00 | 0.00 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.06 | 0.00 | CaO |  |
| Cr L | 0.03 | 2.84 | 0.04 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.21 | 18.79 | 0.27 | FeO |  |
| Ni L | 0.01 | 0.86 | 0.01 | NiO |  |
| O | 0.20 | 61.92 |  |  |  |
| Totals | .53 |  |  |  |  |

Spectrum Label: Spectrum 14

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 36462

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.78 | 600644 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 2

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.00 | 0.00 | Na2O |  |
| Mg K | 0.01 | 2.41 | 0.02 | MgO |  |
| Al K | 0.00 | 0.47 | 0.01 | Al2O3 |  |
| Si K | 0.01 | 1.45 | 0.02 | SiO2 |  |
| S K | 0.07 | 8.84 | 0.18 | SO3 |  |
| K K | 0.00 | 0.04 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.12 | 0.00 | CaO |  |
| Cr L | 0.01 | 0.81 | 0.02 | Cr2O3 |  |
| Mn L | 0.02 | 1.12 | 0.02 | MnO |  |
| Fe L | 0.35 | 24.48 | 0.45 | FeO |  |
| Ni L | 0.01 | 0.39 | 0.01 | NiO |  |
| O | 0.24 | 59.87 |  |  |  |
| Totals | .73 |  |  |  |  |

Spectrum Label: Spectrum 15

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 38450

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.89 | 600689 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.02 | 0.00 | Na2O |  |
| Mg K | 0.04 | 14.17 | 0.07 | MgO |  |
| Al K | 0.00 | 0.39 | 0.00 | Al2O3 |  |
| Si K | 0.07 | 20.01 | 0.15 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.31 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.00 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.03 | 5.07 | 0.04 | FeO |  |
| Ni L | 0.00 | 0.00 | 0.00 | NiO |  |
| O | 0.12 | 60.02 |  |  |  |
| Totals | .27 |  |  |  |  |

Spectrum Label: Spectrum 16

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 36783

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.76 | 599825 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 2

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.00 | 0.00 | Na2O |  |
| Mg K | 0.01 | 1.10 | 0.01 | MgO |  |
| Al K | 0.00 | 0.15 | 0.00 | Al2O3 |  |
| Si K | 0.01 | 0.98 | 0.01 | SiO2 |  |
| S K | 0.06 | 8.64 | 0.16 | SO3 |  |
| K K | 0.00 | 0.12 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.00 | 0.00 | CaO |  |
| Cr L | 0.03 | 2.61 | 0.05 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.35 | 26.61 | 0.45 | FeO |  |
| Ni L | 0.00 | 0.00 | 0.00 | NiO |  |
| O | 0.22 | 59.79 |  |  |  |
| Totals | .68 |  |  |  |  |

Spectrum Label: Spectrum 17

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 38196

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.78 | 600385 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |

Spectrum processing :

No peaks omitted

Processing option : Oxygen by stoichiometry

Number of iterations = 1

Standard :

Na    Albite   1-Jun-1999 12:00 AM

Mg    MgO   1-Jun-1999 12:00 AM

Al    Al2O3   1-Jun-1999 12:00 AM

Si    SiO2   1-Jun-1999 12:00 AM

S    FeS2   1-Jun-1999 12:00 AM

K    MAD-10 Feldspar   1-Jun-1999 12:00 AM

Ca    Wollastonite   1-Jun-1999 12:00 AM

Cr    Cr   1-Jun-1999 12:00 AM

Mn    Mn   1-Jun-1999 12:00 AM

Fe    Fe   1-Jun-1999 12:00 AM

Ni    Ni   1-Jun-1999 12:00 AM

| Element | Weight% | Atomic% | Compd% | Formula |  |
| --- | --- | --- | --- | --- | --- |
| Na K | 0.00 | 0.23 | 0.00 | Na2O |  |
| Mg K | 0.07 | 17.57 | 0.11 | MgO |  |
| Al K | 0.00 | 0.57 | 0.00 | Al2O3 |  |
| Si K | 0.05 | 12.20 | 0.12 | SiO2 |  |
| S K | 0.00 | 0.00 | 0.00 | SO3 |  |
| K K | 0.00 | 0.00 | 0.00 | K2O |  |
| Ca K | 0.00 | 0.20 | 0.00 | CaO |  |
| Cr L | 0.00 | 0.00 | 0.00 | Cr2O3 |  |
| Mn L | 0.00 | 0.00 | 0.00 | MnO |  |
| Fe L | 0.11 | 12.54 | 0.14 | FeO |  |
| Ni L | 0.00 | 0.52 | 0.01 | NiO |  |
| O | 0.14 | 56.18 |  |  |  |
| Totals | .38 |  |  |  |  |

Spectrum Label: Spectrum 1

Livetime 60.0 s

Acquisition geometry ( degrees ):

Tilt = 0.0

Azimuth = 0.0

Elevation = 30.0

Accelerating voltage = 10.00 kV

Total spectrum counts = 39982

| Sample data : | Energy (eV) | Resn. (eV) | Area |
| --- | --- | --- | --- |
| Strobe : | 7.5 | 29.79 | 601115 |
| Optimization data : Cobalt K series |  |  |  |
|  | Energy (eV) | Resn. (eV) | Area |
| Strobe : | .0 | 33.07 | 594689 |
| Optimization element : | 6925.1 | 132.84 | 119949 |